SolarSuno/Andaluz Solar

1kW Wind Turbine system – S48/1000/CE certification.

Product Specifications

Technical Specifications:

Voltage: 48v

Alternator: Direct drive, 3-Phase AC permanent magnet PMA with the most powerful neodymium magnets

Rated Power Output: 1000w

Max Power Output: 1500w

Rated Speed: 400 RPM

Rated Wind Speed: 9 m/s or 20 mph

Start-up Wind Speed: 2 m/s

Wind Blades: 3 blades per system

Blade Material: Reinforced Fiber Glass

Blade Diameter: 2.7 M (8.9 Feet)

Tower Height: 6 Meters/20 Feet and up depending on siting area

Pipe Size: 4.5" or more Diameter Steel Pipe

Recommended Batteries: 4 of 200AH, 12V AGM or GEL batteries

Applications: refrigerator, washer, water pump, electric cooker, color TV, lighting, electric fan and battery charging.

All technical data is provided by manufacturer. No warranties or guarantees are made, expressed, or implied on information we provided in this document such as performance, power output, etc.

MANUAL

Model FD2.7-500-10L FD2.7-500-10H FD3.0-1000-10L FD3.0-1000-10H

Rated power(W) 500W 1KW

Rated voltage (V) 24 48

Rotor diameter(M) 2.5 2.1 2.7 2.3

Start-up wind speed(m/s) 2 2

Rated wind speed（m/s） 8 12 9 12

Security wind speed(m/s) 16 35 16 35

Rated rotating rate（r/m） 400 400

Blade material glass fiber glass fiber glass fiber glass fiber

Blade quantity  3

Installation Specification of Guyed Tower

Step 1: Choosing Installation Sites

The wind turbine should be erected high and far away from obstacles as possible in order to get

relatively high wind speed. Meanwhile soil quality of installation location should be taken into

consideration. Loose sands, uneven or easily influenced by weather condition areas should be

excluded from installing the wind turbine. When selecting the locations, it’s necessary to

consider the distance between generator and pile. The shorter the distance is, the less cable

would be used. As a result, less energy waste would be produced during the transmission.

While under the circumstances of longer distance, it’s better to use much thicker standard

cable for the transmission.

Step 2: Layout of Tower, Base & Anchor (as shown in the following tables)

Model 200W 300W 500W 1000W 2000W

Semi diameter（m） 2.0 3.0 3.0 3.0 4.0

Size of central base(m) (long*wide*deep) 0.4*0.4*0.3 0.5*0.5*0.4 0.6*0.6*0.5

Size of side base (m) (long*wide*deep) 0.3*0.3*0.3 0.4*0.4*0.3 0.5*0.5*0.4

Model 3000W 5000W 10KW 20KW

Semi diameter (m) 4.0 6.0 6.0 8.0

Size of central base (m) (long*wide*deep) 0.8*0.8*0.8 1.0*1.0*1.0

Size of side base (m) (long*wide*deep) 0.6*0.6*0.6 1.0*1.0*1.0

Table 1

Special attention should be paid to the following when laying out the base and anchor:

1. Connecting line of two side anchors should be in parallel with the connection of two pinholes

on the tail edge.

2. Make sure the side of tail edge with screw thread face the anchor.

3. The height of anchor should be consistent with the height of tower base.

Therefore, the pulling force between fixed cable wires should be balanced for the sake of easy

adjustment. Otherwise, too tight or too loose fastening pull will lead to the curvature or even

breakdown of tower while erecting the tower.

Step 3 Concrete the Foundation of Base as well as Anchor and Install Tower Base

1. Follow the layout of the above step, dig the concrete construction holes. Please refer to the

chart one above for the size of the holes.

2. C25 concrete should be available. Four anchor bolts will be installed according to the holes on

the base. Attention to make sure they are consistent with base holes. Fix the base with bolts

on the cement done before (as shown in the graph 2).

Graph 2

3. Annular anchors need to be deposited 60°to 80°along the base direction and check the

distance between the four hooks of the anchors and the center of the base. Four anchors

should be horizontal (as shown in the graph 3).

Graph 3

Step 4 Assembly of the tower and wind turbine

1. First, insert the main section of tower into base, then insert the axis pin into base and insert the

split pin. (As shown in the graph 4)

Graph 4

2. Connect each section of tower one by one, place the tower on the supporting stand after

assembly.

3. Rip the generator and dogvane cables into the tower, and elicit the cables from the main

section of tower, near the tail edge.

4. Fix the running flange and tower flange by bolts. Hoist it by equipments such as pulleys, chain

block etc. Pay attention that the generator axis should be faced upward in order to install the

blades.

5. Install the blades and cover the pressure pad (300W wind turbine having no pressure pad), then

screw the bolts.

Keep the balance of blades when install them. First, do not screw the bolts too tight, adjusting the

distance between two blades’ tips to be equal after screwing all the bolts. (as shown in the graph

Graph 5

Make sure: L1=L2=L3 (error allowed: ±5mm)

Utilizing spanner for force moment when screwing blades’ bolts and achieving the set force

moment （200w、300w：15Nm±1；500w、1kw、2kw：30Nm±1；3kw、5kw、10kw、20kw：50Nm

±1）

Note: Please keep to the above make-sure. If not, we are not responsible for any possibility of

breaking down the blades or flange.

6. After adjusting the equal distance between the blades’ tips, screw down the bolts according to

the order as shown in the graph 6 (300W having three blade bolts, screwing them down one by

one)

10

Graph 6

7. Cover the dome.

8. (For 3kw and above 3kw wind turbine) infix the aviation plug on the generator into the socket of

dogvane, and then install the dogvane. Special attention should be paid to the direction of

dogvane.

All the five holes must be face-to-face.

Step 5: Preparations before erecting the tower

(For 3kw and above 3kw wind turbine)

1. Fix the fixed cable wire on the tower. The cable wire (both right and left sides) should be directly

connected to side anchor through turnbuckle. Cable wire behind should be fixed on back

anchor according to the same length. Make sure there is no twist among the three cable wires

2. Connecting the two supporting poles.

3. Fix the two relative thin cable wires on the two ears of supporting pole, and then make the cable

wire before the tower drill through the two ears, and fix them after putting into the upper pulley.

4. Insert the supporting pole into the tower. The cable wire on the two ears should be fixed on the

two side anchors, and then fixed by tighter.

5. Fix the lower pulley on the front anchor. Fix one side of the longest thin cable wire on the pulley

of supporting pole. Make sure the other side drill through the pulley, and then drill through the

upper and lower pulley. Finally, fix it on a hoist or tractor (as shown in the graph 7).

Graph 7

(For 2kw & above 2kw)

1. Connect the last fixed wire cable to the one which is at least 16 meters. Tie one end to the winch

or tractor.

2. Drill the wire cable or bracing cord through one end of the ladder (2*4 or 2*5), which will be

served as support pole

Step 6: Erecting the tower

1. Drive the winch or tractor slowly and the tower will stand up along the moving of the cord. Stop

at each rising 15°and check the tensile force of wire cable on both sides. Any over tight or loose

wire should be regulated by putting down the tower slowly and adjusting the length of wire cable.

2. Go on pulling the bracing cord until the tower stands upright. Separate the working cord and fix

it on its anchor.

3. Check and adjust the strain of each fixed wire cable. Over tight force may bend the tower while

over loose force may cause the tower unstable and shakable. The perfect force is neither too

loose nor too tight and can be adjusted through circumrotating the bolt.

Installation specification of taper tower

Step 1: Choosing installation sites

Please refer to the installation specification of guyed tower (Step 1)

Step 2: Concrete the base

Refer to the following graphs according to the different product model. Special attention should

be paid to the consistent between anchor and the opening of tower base.

Graph 8

Table 2

Step 3: Assembly of tower and generator

Please refer to the installation specification of guyed tower (Step 4)

Step 4: Hoisting the tower

A hoist is needed while installing the guyed tower, which will be proceeded by professional

personnel. Non-working people should be far away from the site when hoisting.

1. Utilized by supporter on the upper side of pole and hoist gradually.

2. When the tower has been erected, face the open hole on tower base to the cotter bolt and

screw down the bolt nut.

Configuration Specification of Batteries

1. Batteries should be placed inside buildings under dry and constant temperature. After finalizing

the quantity of batteries in series, it is necessary to have a design to place the batteries,

controller and inverter.

2. Connect the batteries in series. The concrete way is to connect the anode of first battery to

cathode of the second one.

3. Make the joints greased. Install the fuse on the positive electrode of battery. The distance of

conducting wire between batteries and controller should be less than 3m.

Table 3

5. Charged parameter of batteries (as shown in the table 4)

Battery voltage(V)                            12      24      36        48        120         240         360

Float charge voltage ( V)                 15      30      45         60        150         300        450

Overvoltage ( V)                              15      30      45         60        150         300        450

Over charge resume voltage ( V)    14      28      42         56        140         280        420

Undervoltage ( V)                            10.5   21      32         42        105         210        315

Under charge resume voltage ( V)  12      24      36         48        120         240        360

Table 4

Electric Wiring

1. Off-grid electric wiring (annex 1)

To ensure the safety and easy maintenance, please install the switch and fuse according to the

diagram. Make sure there are consistent among the output voltages of generator, battery voltage

and input voltage of inverter. A wire-connecting mistake will lead to burn down the generator,

batteries and inverter.

(Special attention to 3kw & above 3kw)

a. There are two cables elicited from the generator head. One is the cable of wind direction signal

with aviation plug on cable head. You need to insert it into the socket. The other cable is for the

output of generator power and controlling signal. There are five lines with three relative thick

ones for generator output and the other two relative thin ones for controlling signal, which is

classified as positive electrode and negative one. All should be connected to the connecting

poles at the back of controller accordingly.

b. The anemoscope should be installed on house roof or open areas, and must be vertical against

the ground. One end of the matched cable of anemoscope should be inserted into the socket

under the anemoscope with the other end inserted into the socket accordingly.

c. Please refer to annex 2 for controller specification

2. On-grid electric wiring

All the models can be applied to on-grid environment. But it is approved by local regulations.

What is more, on-grid controller and inverter need to be purchased additionally.

Maintenance

Wind turbine may be operated under extremely harsh environment, or meet various complicated

weather. Therefore, fix- date examination and maintenance are necessary in order to keep the

system operate rightly.

Do the following check every three months:

1. Check the tight wire is too loose or too tight, and adjust them, in particular in initial stage of

installation and post-gale.

2. Check whether or not the wire is damaged or loose. The joints are loose and rusted or not in

order to secure electrical safety.

3. Maintain the batteries following the battery manual.

4. Before storm, it is better to lay down the tower for escaping from unpredictable loss.

www.solarsuno.com

www.andaluzsolar.com